Fire Status Report

Building Address: ________________________________________________

- What is floor is the fire alarm activation? FLOOR: ___________________

- Type of fire alarm device activated? (Check off box)

  - Duct detector

  - Fire extinguishing system

  - Heat detector

  - Pull station

  - Smoke detector

  - Sprinkler water flow alarm

  - Other: _______________

- Ascertain floor situation? (from the caller or Fire Response Team)

  - No visible fire, smoke or odor

  - Odor of smoke

  - Smell of something burning

  - Visible smoke

  - Visible fire

Describe any actions taken – (I.e. odor of smoke, checking further)

- Is a floor(s) evacuation under way? (i.e., for visible smoke, fire, strong odor)

Yes	 No

If Yes: Indicate Fire Floor _______  Floor above __________ and Floor Below _______

Re-located floor on: ________________________________

- Have the elevators been recalled for Fire Dept. Use? 	Yes 	No

- Provide the Fire Officer with the Fire Dept. Building Information Cards

Name of Fire Officer: ___________________________________

Name of Residence Fire Director: ____________________________________________________

Date: 		Time:

(Gather the fire alarm information prior to fire department arrival and provide the 1st due Fire Officer, the Initial Situation Status Fire Report & FD Bldg. Information Card upon arrival).